## On draft assumptions, etc.
Please state your organisation - Organisation name | How would you rate the Innovation Roadmap (clarity, comprehensiveness and format)? (rank 1 to 10 - 10 most satisfactory) - (rank 1 to 10 - 10 most satisfactory) | Do you think that the prioritisation of innovations for the TYNDP 2026 planning cycle could be improved, and if yes, why and how? - 2000 characters | Are any innovations missing in the Scenarios Innovation Roadmap that should be mentioned in future editions? - 2000 characters | Is there anything that you would like to add? - 2000 characters | Do you think that the draft import potentials for H2 and ammonia could be improved, and if yes, why and how? - 2000 characters | If you answered to the previous question, please reference a source to support your claim. - Source | Do you think that the draft technology costs could be improved, and if yes, why and how? - 2000 characters | If you answered to the previous question, please reference a source to support your claim. - Source | Do you think that the draft commodities prices, CO2 cost and synfuel import cost could be improved and if yes, why and how? - 2000 characters | If you answered to the previous question, please reference a source to support your claim. - Source | Is there anything that you would like to add? - 2000 characters | Do you think that the draft market modelling methodologies and their relevant assumptions could be improved and if yes, why and how? - 2000 characters | Do you think that the draft target compliance and gap filling methodologies can be improved and if yes, why and how? - 2000 characters | Do you think that the draft carbon budget methodology can be improved and if yes, why and how? - 2000 characters | Do you think that the draft scenarios grid methodology can be improved and if yes, why and how? - 2000 characters | Do you think that the draft scenario weather years selection methodology can be improved and if yes, why and how? - 2000 characters | Is there anything that you would like to add? - 2000 characters | By ticking one of the following boxes, you either agree on publishing your answers to this consultation in an anonymised format or agree to leave out all your information submitted in this consultation. In both options, your anonymised answers may be shared with EU and national authorities, drafting committee members, and other persons or entities involved in the adoption process of the consulted document to ensure the performance of ENTSO-E legally mandated tasks. Under no circumstances will your answers be shared in combination with your personal information. - Publication of information
Anonymised | 5 | In order to improve the robustness of the results, it is essential to integrate more climate years than currently. [Anonymised respondent] considers that the number of climatic years used could be higher than three climatic years without significantly increasing the calculation time. [Anonymised respondent] is also favorable to include missing non-EU countries such as Norway, Switzer¬land, and Serbia in the [anonymised respondent], and to split the United Kingdom into separate datasets for Great Britain and Northern Ireland to better align with TYNDP modelling requirements. The development of web-based interfaces to improve data visualization is crucial. [Anonymised respondent] encourages ENTSOs to develop a tool providing a better understanding of the data and assumptions used and TYNDP modelling. |  | [Anonymised respondent] notes a decline in access to TYNDP information. For example, unlike TYNDP 2024, the installed electrical capacity in each country and for each year or the evolution of energy demand are available in an ad hoc Excel file, it means the information is disseminated in more than hundred files. Consequently, there is not a friendly access to information and within the timeframe of the public consultation, it is impossible to read and analyze all the files. Overview dashboards are also necessary as they would usefully complement the fragmented information stakeholders could dive in if they had more than 4 weeks. In summary, at this stage, raw data with some graphs but no explanation are available. [Anonymised respondent] therefore suggests the publication of a report with the relevant graphs and some background information. For example, the evolution of electric consumption for transport could be accompanied by the number of electric vehicles. Such a report would allow us to understand the available figures and would be a source of valuable information. This data is mostly already available but requires a long search time. | [Anonymised respondent] reminds that the French National Strategy for Hydrogen does not in favor of imports and encourages the national production. Moreover, [Anonymised respondent] notes that in the excel files, Germany or the Netherlands will not be able to import before 2035-2040, which means that France does not even have a transit role to play before these timescales. [Anonymised respondent] is therefore wondering about the destination of these imports. Concerning ammoniac, the Excel file refers to "ammonia (for energy)". If only the energy uses of ammonia (as fuel for maritime freight or as fuel for thermal power plants) are targeted here, and not its uses as a raw material for manufacturing fertilizers, [Anonymised respondent] notes that no electricity producer is considering this fuel in France (in the world, only the Japanese and Koreans believe it), and ammonia in maritime transport is not really taking off; shipowners are instead favoring LNG and then methanol. Therefore, [Anonymised respondent] is surprised by these figures concerning import of ammoniac. |  |  |  | [Anonymised respondent] considers it is needed to have consistent data. Generally, a price scenario is the result of a set of assumptions. Using price scenarios from different sources could lead to inconsistencies. Furthermore, [Anonymised respondent] notes that the dates of the scenarios from which these prices are based on are different. Some are based on scenarios from 2022 or 2023, a period characterized by an energy price crisis. CO2 prices look extremely high, reaching up to 502.7 €/tCO2 by 2050. These prices raise a question of political credibility, since they would require to organize massive transfers within the economy to keep the distributive impacts acceptable. It is more likely that some hard-to-abate sectors will be handled through norms rather than through market, and will not drive CO2 prices to these levels. In any case, variants should be envisaged with lower prices, if these values were to be kept as central hypothesis. | If only one source would be kept, the World Energy Outlook (2024) of the IEA assesses CO2 prices to reach up to 250 €/tCO2 in the highest case in Advanced economies (corresponding to all net zero emissions targets being reached). This is half the value given in the TYNDP. |  | - Regarding RES for hydrogen production, [Anonymised respondent] is very doubtful about the notion of “dedicated RES” introduced in slide 6 and would like more clarity on its concrete impacts : unless these RES have no connection to the grid at all, this concept is purely contractual (and marketing) and has no physical reality, meaning that there should be no distortion of the dispatch linked to a “prioritization of hydrogen”. Conversely, if these RES are contractually linked to electrolysers through a PPA, this PPA will be priced at the complete cost of RES to cover their fixed costs, and electrolysers will certainly not get their electricity at their marginal cost, i.e. for free, as indicated in slide 11. - Regarding the share of V2G and the modeling of EV’s flexibility, it is not clear yet what will be the criteria to choose between flexibility shares (“market driven”/ “balanced”/ “users oriented”/ “business as usual”) and the flexibility types (“low flexibility”/ “medium flexibility”/ “high flexibility”) and whether they will be consistent with the National Trend+ assumptions. Besides, the slides 23 suggests that the EV flexibility modelling is focused only on light vehicles, while [Anonymised respondent] sees a growing interest of transportation firms operating heavy vehicles for optimization through flexibility, which would deserve an appropriate modelling. Finally, [Anonymised respondent] considers that the volumes of V2G displayed on slide 29 are very ambitious. | [Anonymised respondent] doesn’t understand how the implementation of the gap filling methodology for energy consumption targets would also ensure gap filling for the RES targets, as indicated in the slides. This should be further detailed. Theoretically, the gap filling methodology for the RES targets should more or less mirror the provisions foreseen in Articles 31 to 33 of the Governance Regulation (2018/1999) and its implementing act. | [Anonymised respondent] notes the following points of attention: - the oil consumption decrease seems very ambitious, especially for 2030; - emissions linked to SMR increase between 2030 and 2040 before decreasing to 0 in 2050, which doesn’t seem realistic; the use of SMR+CCS is not mentioned, although it is credible and could avoid this effect; - it would be useful to have the breakdown of emission reductions in the industry, and to have the narrative behind the evolution of emissions linked to food and agriculture. | The available data is scarcer than for the same consultation on TYNDP 2024. In particular, the actual reference grids and investment candidates seem to be missing for now, which makes it difficult to write a thorough opinion on the matter. The assumptions made to include or not a project among the investment candidates seem reasonable, however missing complete data. A methodological improvement aiming at representing flow-based capacities where relevant would be most welcome. | The change in weather scenario methodology is very positive. [Anonymised respondent] expects a slightly more detailed description of the exact number of principal components (and their interpretation) used to describe each weather year and used in the k-means clustering. This particularly echoes with the “higher granularity topology”, which might lead to a greater number of variables. On identical input data, a comparison of the selected years and associated weights with the results from the previous methodology would be of great value. The selection of only 3 weather years systematically raises the question of whether more weight should be assigned to the scenarios with more supply issues. | [Anonymised respondent] believes a 2 months consultation is necessary to be able to properly analyse the numerous sets of data and provide relevant comments. [Anonymised respondent] can only mention a few comments while overviewing the data : the lack of some data (for example min/max ranges for RES and other prices) ; the lack of dashboards to accompany the fragmented raw data in the excel sheets, especially considering the short consultation period. [Anonymised respondent] also regrets that there are no questions on the input to the modelling. | Publish my anonymised answers to this consultation.
Anonymised | 6 | TYNDP Innovation Roadmap could improve by having a longer-term approach. This would be certainly updated regularly to align with regulatory changes, which would better reflect the roadmap adopted by the EU. With a long-term vision, the technology adoption and all the necessary investments needed would become clearer for market participants. | To create a more robust scenario, a couple of factors could be considered in the Innovation Roadmap: - The role of AI – With rapid advancements of AI, there will surely be some impact that is going to weigh in on the innovation; - A greater role of biomethane, which is only lightly mentioned, with the EU setting stark ambitions. - Lastly, it would increase the ambition of the roadmap, if instead of incremental, focusing on the 2050 optimal state, building on the holistic approach to achieve the set goals. | When discussing the role of heat pumps and hybrid heat pumps in decarbonising heating, it is essential to adopt a technology-neutral perspective that also accounts for existing gas boilers. Many of these boilers, already widely installed and operating on natural gas, can and will transition to renewable gases without requiring replacement, significantly reducing costs and disruption. Biomethane can be injected into existing gas grids and used by current gas boilers without any technical adaptations, offering a seamless path to decarbonisation. Also, most modern heating equipment, such as condensing boilers, hybrid heat pumps, micro-CHP units, and larger systems, is already compatible with hydrogen blends up to 20%, according to the ECHA (2025) Report on hydrogen-readiness of gaseous fuels distribution infrastructure and heating technologies in Europe. The same study reveals dedicated boilers and heating systems are already available on the market, often with straightforward conversion kits that adapt existing appliances to run on 100% hydrogen. | [7 empty] | It is not clear how demand is represented throughout the year, particularly concerning the flexibility of demand from industry, households, and gas-powered transport. This information is essential for appropriately sizing and modeling infrastructure. Additionally, the statistics on intra-year demand values should be published and reviewed, as they are crucial for infrastructure planning. Furthermore, the Methodology for Hydrogen Storage does not acknowledge or foresee the use of storage tanks/artificial storage connected to the distribution networks, whereas the Gas and Hydrogen Directive recognizes that these components are expected to play an important role in balancing the networks (Recital 80). | Given the substantial gap between the projected total energy consumption for 2030 and the EU target, there is a risk that any adjustments made without a thorough review of the underlying demand development methodology could result in arbitrary outcomes. It is therefore advisable to incorporate into the gap-filling methodology a detailed consistency check of final demand figures against the methodologies used for forecasting demand in individual segments. This discrepancy also underscores that the NECPs are not fully aligned with EU targets, indicating that relying on them as a basis for projections is, at present, unsustainable. |  | While the draft scenarios grid methodology represents a major step forward, there are areas where improvements could enhance realism, cost-effectiveness, and territorial cohesion - especially from the perspective of gas DSO and hydrogen concession stakeholders. 1. Stronger integration of gas DSO infrastructure in hydrogen deployment planning The methodology currently prioritises large-scale transmission and cross-border interconnections. However, distribution-level infrastructures - especially in countries like Portugal where biomethane and hydrogen blending are emerging locally - are largely absent from the assumptions and scenario-building logic. This would allow an inclusion of existing and adaptable gas distribution networks in the 2030–2040 mapping, particularly where DSO can contribute to local hydrogen delivery, injection or blending, in line with national decarbonisation strategies. 2. Necessity of coordinated development with biomethane market evolution From a DSO perspective, hydrogen and biomethane will likely coexist in various local networks, with blending, injection hubs, and shared assets. The current methodology seems to treat hydrogen and other renewable gases in silos. This integrated approach would allow the development of a clearer mapping and interaction model between hydrogen and biomethane infrastructures, especially in scenarios involving injection hubs, shared pipelines, or hybrid distribution networks. 3. Need for a more flexible and modular approach to hydrogen projects maturity levels The categorisation (PCIPMI, Advanced, Less-Advanced, Conceptual) is useful, but may undervalue projects at local level, especially those emerging from industry-led clusters or regional initiatives that are not fully integrated into the processes led by transmission system operators. This situation would allow scenario inputs from DSO-level or regional hydrogen projects that meet certain minimum criteria, even if not part of TSO-led initiatives. |  |  | Publish my anonymised answers to this consultation.
Anonymised | 7 | Yes, the prioritisation of innovations for the TYNDP 2026 scenario modelling could be improved by better incorporating developments at the Distribution System Operator (DSO) level. Given the growing role of DSOs in the electricity system as a whole, also integration distributed energy resources (DERs), enabling local flexibility, and deploying digital and operational innovations, it is increasingly important for the TYNDP scenario modelling to reflect these evolving dynamics. Many innovations at the DSO level—be they technical (e.g. ICT solutions), customer-facing (e.g. flexible tariffs, community storage), or organisational—will shape how the power system behaves and evolves in the future. Closer cooperation between TSOs and DSOs, including joint engagement with relevant R&D institutions, would help ensure these innovations are adequately represented in the modelling assumptions, particularly when it comes to demand-side flexibility, local congestion management, and decentralised investment trends. This is not only important for accurate system representation but also to avoid overestimating needs at the transmission level when solutions may already be emerging at distribution level. | We propose the following innovations to be added to the roadmap. 1) Integrating Evolving Regulatory Frameworks into Scenario Design The EU and national regulatory frameworks are being continuously adapted to the evolving needs of the power systems, also regarding the coordination of markets and grids. For example, moving towards more dynamic grid fee regimes, offering flexible connection agreements, setting new queue management rules can affect the attractiveness of markets for new generation and loads, and influence the use of the grid and the need for grid expansion. These aspects should be explicitly considered in the scenario design. 2) Accounting for Climate-Induced Stress in Energy System Modelling Additionally, extreme weather events should be appropriately considered in the model. As these events become more common, they should be explicitly taken into account to assess the impact on security of supply and the adequacy of the power systems. For example, the likelihood of heat-related outages of nuclear power plants (as happened on July 1st in France), as well as the risk of grid equipment failures during extreme heat events (+45 °C) or floods is expected to rise. 3) The Overlooked Role of Heavy-Duty EVs in the EV modelling EV modelling in the TYNDP scenarios should explicitly model heavy duty buses and trucks. While heavy-duty electric vehicles (HDVs) are fewer in number than passenger EVs, their energy demand is comparable, making them a crucial yet often underestimated part of transport decarbonisation. Despite comprising less than 10% of the vehicle fleet, HDVs contribute over 50% of road transport CO₂ emissions. Given that commercial vehicles make up nearly 60% of new vehicle registrations in Europe, their electrification presents both challenges and opportunities for the energy system. | In addition we would like to propose following innovations. 4) The Need to Include Innovative Grid Technologies in TYNDP Modelling Furthermore, it is mentioned in 9.17 that innovative grid technologies (e.g. Dynamic Line Rating and Modular Power Flow Control, but also grid forming technologies) are out of scope. However, these technologies enhance the operational capabilities of the grid and would potentially result in a higher performance of the grid and overall system efficiency in a more cost-optimal manner than capital intensive grid buildout. Therefore, leaving these innovative grid technologies out of scope will most likely lead to an overestimation of the need for grid build-out in the TYNDP. Furthermore on the process, since the content is technical and meant for an informed audience, some technical terms and abbreviations (e.g., NT+, TSO, SRG) may require prior knowledge for full clarity. More visual summaries would enhance the overall comprehension. 5) Balancing Security of Supply and Flexibility in Grid Dimensioning Another worth mentioning is the bigger economic and political debate concerning the primary parameters and methodologies used by TSOs to dimension their grids. In the sake of security of supply, grids are currently built for peak capacity, even though this is only reached for a limited number of hours per year. However, it is important, as point out in Directive (EU) 2019/944, grid planning shall also incorporate the contribution of flexibility services needed. This could result in a more cost-optimal dimensioning of the European power grids and potentially enhance socio-economic welfare. It is worthwhile to fundamentally reassess and reiterate whether the current design criteria of our European electricity grids are still fit for purpose and optimal to facilitate a continuous acceleration of the decarbonization (via electrification) of our economies towards 2050. | More transparency in the elaboration of the whole assumptions on H2 and gas, including obviously H2 and ammonia could be improved. | [5 empty] | We would like to raise our concern on the new approach to the framework of scenarios for the TYNDP 2026 scenarios. From our point of view, it is not sufficient to have only one central scenario. Even if there are two different economic variants (to be commented in the separate consultation), modelling only one scenario brings a too narrow view on the possible development of the economy and society in Europe. We understand the economic variants are stemming from the ACER framework guidelines. However, the guidelines don’t restrict TYNDP to have multiple scenarios. | EV modelling can be further improved. Currently, trucks and buses are not explicitly modelled. This is to be modelled if we want to assess the impact of trucks and buses on the grids and also to assess the flexibility they could provide. Furthermore, currently it is assumed that 70 % home charging for EVs and 30 % street charging for EVs. This should be improved as this split will evolve over years. Also, this split is same across all the countries, however, this should be differentiated considering the availability of charging infrastructure is different across countries. | To ensure full transparency, both the original data and the resulting input data after gap-filling should be made publicly available. This is essential to allow stakeholders to fully scrutinize and understand the data processing steps. For example, in the methodology it is not clear how the decarbonisation potential will be decided. Therefore, we request to publish the rankings of the sectors and carriers with their GHG emission potential and decarbonisation potential. |  | Care should be taken when including conceptual hydrogen projects in the 2050 reference grid. These projects represent potential interconnection capacities that TSOs are currently exploring, rather than confirmed developments. It is essential to clearly define and communicate the criteria used to select these projects for inclusion. Transparency in this process is crucial to ensure stakeholder trust. Stakeholders must have confidence that the TYNDP scenarios do not overestimate project capacities or rely on overly optimistic cost assumptions. | [Anonymised respondent] welcomes the improvements made to the methodology for selecting representative weather years. This is a critical step forward in ensuring that energy system modeling reflects a more realistic range of climatic conditions. However, we would strongly encourage a more detailed and transparent presentation, upon publication of the results, of how extreme weather events—such as Dunkelflaute periods—are identified and captured within this process. These rare but impactful events play a key role in assessing system adequacy and resilience, particularly in scenarios with high shares of variable renewables. In addition, it would be valuable to demonstrate how the methodology accounts for the effects of global warming on future weather patterns. This includes potential shifts in temperature extremes, wind and solar availability, and the frequency or intensity of extreme weather events. Providing this level of transparency will strengthen stakeholder confidence in the robustness and realism of the TYNDP scenarios and support better-informed policy and investment decisions. | [Anonymised respondent] urges caution regarding the new TYNDP approach of using fixed capacities instead of modeling future capacity expansion, as it has both strengths and limitations. Leveraging TSOs' insights ensures scenario realism by aligning with national plans, infrastructure developments, and non-market drivers like policy commitments and permitting progress. However, this approach introduces notable limitations, especially when it comes to long-term system adequacy and economic viability. By not allowing the model to perform endogenous capacity expansion, the scenario may overlook key market signals and fail to capture whether the system, as configured, can deliver the required investments under realistic market conditions. This could lead to a situation where the fixed/predefined capacity mix may not be economically viable in a liberalized market setting. If the model assumes that certain technologies will be built regardless of profitability, it risks masking structural investment gaps, especially for firm capacity or flexibility resources that may not be adequately remunerated under current market arrangements. Without a clear representation of investor behavior and potential market-driven capacity buildout, the results may underestimate the need for support mechanisms, market reform, or policy intervention to ensure security of supply and economic efficiency. A hybrid approach could be more robust—using known capacity developments for the near term while allowing for potential endogenous capacity expansion (or at least some level of cost-optimization) in the longer term. This would enable testing the economic and operational feasibility of the system under market-driven conditions, without implying any prescriptive role for system operators. Transparency on these modelling choices—and their implications—is critical for stakeholders to interpret the results accurately and in the right context. | Publish my anonymised answers to this consultation.
Anonymised | 5 |  |  | We would like to express our concern regarding the accuracy of the input data used in the Energy Transition Model (ETM) for Germany within the TYNDP scenario framework. Specifically, the assumed number of installed heat pumps deviates significantly from reliable national sources. According to the German Heat Pump Association (BWP), there were approximately 950,000 heat pumps installed in Germany by 2019. However, the ETM input data assumes a range between 1 and 1.2 million units for that year. This discrepancy raises questions about the validity of the model inputs. As a result, the calculation of final energy consumption and target achievement under the German NECP appears to be flawed. If the baseline data is incorrect, then the modeled energy demand trajectories cannot accurately reflect what is required to meet the NECP targets. If the input data diverges from actual data, there is a risk that the scenario modeling becomes inefficient. To be more specific, this could result in an increasing gap between actual grid requirements and modeled outcomes. Given that national grid development is closely tied to the TYNDP’s scenarios, inaccurate modeling could lead to inefficient infrastructure planning which could jeopardize security of supply in the coming years. In addition, Germany did not state a clear biomethane production target as addressed in recommendation 8 for the NECP (see also: Commission Assessment of the Final Updated National Energy and Climate Plan of Germany - European Commission). On the basis of the ENTSO-G accompanying documents it is noticeable that a single price is used for biomethane. In reality, this is much more complex due to the different sectors of use (e.g. heat, transport, industry) and the different qualities (=different feedstocks). The inclusion of biomethane in the scenarios is nevertheless very important, particularly because other European member states emphasize the importance of biomethane through national expansion targets. |  |  |  |  | Yes. The price for biomethane in the documents differs from current developments. The Biomethane industrial Partnership calculated that the production cost of biomethane is a 54 to 84 EUR/MWh. We do not see a significant increase of production costs. | BIP Task force 4.2 report https://bip-europe.eu/2023/11/02/executive-summary-and-slidedeck-available-for-download-task-force-4-2-reveals-current-biomethane-production-costs-from-real-industry-data/ | Additionally, we are wondering, if the outcome of the current scenario process is enabling TSOs as well as DSOs to fully accomplish their task of supply reliability especially for gas (natural gas, hydrogen as well as biogas) in the following period. The energy system is currently undergoing a shift and is influenced by many innovations. Nevertheless, all grid operators must consistently meet energy demand, including during peak times, while the transformation of the grid infrastructure is ongoing. We encourage to examine the draft scenario and parameters to emphasis the supply security. |  |  |  |  | The TYNDP's decision to simulate a median weather year for modeling raises important concerns. While grid operation under median conditions is generally straightforward, the future energy system must be capable of handling not only standard scenarios but also strained and challenging situations. Relying solely on median conditions risks neglecting the critical stress tests needed to ensure system reliability under tense circumstances. Additionally, future weather patterns may deviate significantly from historical trends, meaning that a fixed reference point loses relevance as climate effects intensify. To address these issues and to better understand the impacts on the energy system, it would be highly beneficial to include a historical weather year, a cold weather year, and a meteorological forecast in the modeling process. This approach would provide a more comprehensive and robust basis for planning and ensuring the resilience of the future energy system. |  | Publish my anonymised answers to this consultation.
Anonymised | 5 | Yes. While the Innovation Roadmap offers a solid framework under ACER requirements and rightly focuses on critical model upgrades given tight timeframes, the overall prioritisation process could still better align with EU climate goals, long-term cost efficiency and integrated system needs. First, it would be valuable to anchor priorities more explicitly to the EU’s cumulative climate objectives and fair-share carbon budgets, ensuring innovations are not just technically important but essential for staying within a 1.5°C-aligned pathway. This reflects recommendations in the ESABCC’s “Scientific advice for amending the European Climate Law,” which emphasises climate action that strengthens EU strategic priorities and respects tight carbon constraints. Second, more weight could go to innovations that optimise the whole energy system across electricity, heat, hydrogen and gas, reducing new infrastructure needs and keeping costs down. Focusing on system-wide efficiencies — rather than siloed upgrades — helps apply the “energy efficiency first” principle and lowers the risk of costly lock-ins. Third, involving more independent scientific expertise and broader societal perspectives would ensure decisions balance technical needs with what’s best for end-users, communities and the climate. This directly aligns with repeated ESABCC calls for transparent, inclusive processes that ground choices in rigorous science and build public legitimacy. It’s also positive that structured stakeholder dialogues are already underway, offering a strong base to expand. Finally, clearer communication of trade-offs — like how prioritising certain innovations affects flexibility needs, emissions or infrastructure — would support informed choices and accountability, ensuring the innovation programme stays robust, climate-aligned and cost-effective. | Yes. Looking ahead, there are areas that would be helpful to include or explore more fully: Wider modelling of transport electrification, not just for passenger cars but also heavy trucks, buses and new logistics hubs. Considering up-to-date driving patterns and charging behaviours would give a clearer picture of impacts on the grid and where smart charging or local balancing could help. Better ways to capture how demand changes might reduce infrastructure needs, such as through industrial shifts, more building renovations, or smarter local consumption. This could show how energy efficiency and local improvements directly shape where and how much new infrastructure is actually required. Innovations that allow electric heat pumps and other local loads to be more flexible, so they can shift their operation in response to grid needs or price signals. This kind of demand-side participation can cut costs and reduce stress on the system. Simpler platforms or market arrangements that make it easier for households, communities and small businesses to take part, for example by selling flexibility or local renewable production, supporting a fairer transition. Grid management and planning tools that help steer new demand — like charging hubs, electrolysers or new industrial sites — to areas where the network is already strong, rather than reacting with costly reinforcements after congestion appears. Including or deepening these areas would help keep long-term costs down, improve resilience to disruptions, and ensure the benefits of the energy transition reach more people and local areas — all while supporting Europe’s climate targets in a practical way. | We also encourage making the process for the implementation of the Innovation Scenarios Roadmap more transparent, by clearly showing how different ideas or feedback are considered, included or set aside. This would allow all stakeholders to better understand how decisions are made, engage more meaningfully, and help shape scenarios that are secure, fair and climate-consistent. | Yes. While hydrogen and ammonia imports can help diversify the EU’s supply, the draft potentials appear optimistic given competing global demand, local decarbonisation needs in producing regions, water availability, infrastructure constraints and potential geopolitical risks. Heavy reliance on these imports could lock in long, costly infrastructure that might underperform or strand if global conditions tighten or sustainability rules become stricter. The scenarios would be stronger if they also explored pathways that minimise reliance on imports, placing more emphasis on local renewable production and direct electrification of industry, transport and heat. Finally, these lower-import pathways would better prepare Europe for a global hydrogen market that could be tighter and more expensive than currently forecast, especially if other major economies scale up their own direct uses of clean hydrogen, reducing export availability. - | https://bellona.org/news/climate-change/hydrogen/2023-03-7-reasons-why-hydrogen-ready-is-a-myth https://eu.bellona.org/2023/09/26/risks-and-challenges-of-importing-hydrogen-to-europe/ | Yes. The draft cost assumptions for key technologies like solar, wind, batteries, and electrolyser systems seem conservative compared to the steep cost reductions seen in recent global auctions and industrial learning rates. If costs continue to fall faster than these draft scenarios assume, it could mean the EU underestimates the affordability of a renewables- and flexibility-led transition. Updating technology cost pathways with more realistic learning curves would give a more realistic view of how quickly local renewable generation, storage and grid digitalisation can scale, helping to meet climate targets at lower overall system cost. A sharper focus on future cost declines could also rebalance the scenario assumptions away from long, expensive fuel supply chains toward more local clean energy solutions. | https://ourworldindata.org/cheap-renewables-growth |  |  |  | Yes. While the market modelling for these scenarios is clearly advancing — for example by adding more detailed segments for electric vehicles or different types of electrolyser operation — there is still room to strengthen how the models handle flexibility, demand-side measures, and integrated operation across electricity, heat, hydrogen and other sectors. Most of the flexibility today is still represented through relatively simplified price-responsiveness assumptions. This understates how smart charging, load shifting, flexible heat pumps and local coordination could ease pressure on grids and lower overall system costs. It would be valuable to develop a more comprehensive approach to modelling demand-side behaviours, real-time load displacement, and local congestion management, alongside the usual market-based dispatch and price formation. This could show how investing in smarter demand could avoid or defer costly supply and infrastructure expansions. | The goals for 2040 are not taken into account for now, so they will obviously have to be added in the next scenarios. | Yes. The draft carbon budget methodology could be improved in certain ways. While the scenarios do track cumulative emissions and set a total budget, the underlying data shows that the gross emissions are significantly higher than this, meaning the pathway relies heavily on removals through CCS, CCU and LULUCF to stay within this carbon budget. It’s also not fully clear whether these pathways actually reach net zero by 2050 given the size of the gap. Additionally, the sources for these inputs are not always clear, especially as often cited “Impact Assessment by the EC” with certain details not clear – especially since some figures appear carried over from the 2024 scenarios while others are updated for 2026. It would strengthen the methodology to: Clearly separate gross emissions from removals, so it can be seen exactly how much of staying within the carbon budget depends on large-scale CCS, CCU and land sinks, and test what happens if these underdeliver. Provide more precise sourcing for key inputs, so the assumptions can be checked and challenged. Ensure any long-term infrastructure tested under these scenarios genuinely aligns with staying inside a Paris-consistent cumulative budget — avoiding stranded assets or later abrupt shifts. | Yes. While the grid methodology usefully tests future infrastructure needs, including some conceptual and long-term projects, it could still give more weight to non-wire alternatives, smarter grid operations, and climate resilience. More emphasis on solutions like dynamic line rating, advanced congestion management, and local flexibility markets could help avoid or defer costly grid reinforcements, keeping the system more affordable and adaptable. It would also be valuable to see clearer stress tests on how the grid performs under climate extremes, such as prolonged heatwaves or low renewable periods. Finally, improving transparency on how these options are assessed alongside traditional expansion — and showing their impact on long-term costs and emissions — would make the scenarios stronger tools for planning a secure, efficient and Paris-aligned grid. | Yes. Adding 3 climate years is already an important improvement in integrating the impacts of climate change into the scenarios. However, the decision to use Principal Components Analysis and k-means clustering analysis might discard the most extreme climatic events from the calculation and therefore could not take into account potential disruption that these extreme events could cause. Though it is understandable to limit the numbers of weather years to avoid the increase in the scenario complexity, it could benefit to potentially add some stress tests relative to more extreme events. However, we notice that the dataset used seems pretty reliable and that the methodology used to build energy projection from climate historical data and projections, even we some data are missing, seem robust enough. |  | Publish my anonymised answers to this consultation.
Anonymised | 6 | [10 empty] | The modelling of intra-year demand remains largely ambiguous, particularly concerning the demand flexibility of industries, households, and gas-based transportation. However, this information is crucial for accurate infrastructure sizing and modelling. Additionally, it is essential to publish and review the statistics of intra-year values, as they play a vital role in infrastructure planning. | Given the significant disparity between the projected total energy consumption for 2030 and the EU target, we are concerned that any adjustments made without revisiting the demand development methodology could yield arbitrary results. We recommend incorporating a thorough consistency check of final demand figures with the methodologies of individual segments demand predictions into the gap-filling methodology. Besides, this discrepancy also highlights that the National Climate and Energy Plans (NCEPs) are simply inconsistent with EU targets, making it currently unsustainable to base predictions on them. |  |  | As the weather years are based solely on predictions, they will be prone to insufficient variability of weather extremes leading to an inability to model “fat tails” or sufficient variability. In grids modelling and safety checks it is standard to use past relatively extreme years to ensure safe and reliable operation. These representative years should be used in the modelling; otherwise, the scenarios would lead to insufficient peak consumption. | We would like to further comment on the modelled figures of the EU and, partiuclarly, those of the Czech Republic: - Proposed growth of use of methane in cars is unfounded. The EU rules successfully pushed car manufacturers to terminate CNG cars production so there are no cars to consume such amount of gas. Instead, it may be meaningful to have more significant growth in buses and trucks segment. - H2 in CZ chemical industry: Currently it uses 125ths t/y of hydrogen (non-energy) that induces target of at least 1.7TWh RFNBO H2 in 2030 with some add-on from transport sector (see the Revised CZ Hydrogen Strategy). - H2 is CZ household segment: There is no predicted use, unlike in other countries, which is not meaningful. With the growth of H2 consumption in industry some has to be also used in household segment (both connected on the same line) with price competitiveness similar to the other countries. The Revised CZ Hydrogen Strategy (2024) assumes some H2 usage in the household segment. | Publish my anonymised answers to this consultation.
Anonymised | 6 | [5 empty] | Regarding wind technology costs-- • Onshore wind CAPEX: This looks acceptable, though it seems optimistic that prices will decrease in 2035, 2040, and 2050, but noted. • Offshore bottom-fixed CAPEX: Also seems optimistic, and from what we’ve seen, costs depend more on the maturity of the market than on topology. The average ranges from €2.2m/MW to €5.2m/MW (some include and some exclude transmission). • Floating CAPEX: Likewise appears optimistic. It is hard to believe it will be as low as €3.6–4.6m/MW in 5 years. Given that recent financed projects had a CAPEX of €7m/MW, it may be more realistic to start around €5m/MW and assume costs decline over time. That said, I understand asking them to adjust their assumptions to higher figures would not necessarily be in our favour in the ENTSO-E model. • Onshore OPEX: We have a reference figure of €39k/MW/year, nearly double their assumption. • Offshore OPEX: These figures also appear low. For reference, offshore OPEX is about €80k/MW/year, and floating is expected to be at least equivalent or higher. • Transmission costs: We see that cables and substations are listed separately (CAPEX and OPEX), so it’s unclear whether those are included in the cost figures above. If not, this could partly explain why the estimates look “so low.” • Substation costs: According to BVGA, an onshore AC substation is around €30-40k/MW, and an offshore one about €140k/MW. It is to check if a DC substation would be actually more than triple the AC cost. We feel the values provided are generally low. However, the excel file has separate lines for transmission costs, so it is unclear which elements are or are not included overall. We are open to discuss further. | 1. Lifecycle overview ¦ Guide to an offshore wind farm: https://guidetoanoffshorewindfarm.com/offshore-wind-lifecycle-overview/ 2. Lifecycle overview ¦ Guide to a floating offshore wind farm: https://guidetofloatingoffshorewind.com/floating-wind-lifecycle-overview/ |  |  |  |  | We see discrepancies in the wind installed capacities as per the TYNDP figures vs WindEurope assessments. > For ONSHORE Wind, WindEurope estimated figures for 2030 in GW: AT 6.2 BE 4.2 BG 1.1 CY 0.2 CZ 0.8 DE 96.3 DK 5.6 EE 1.9 ES 40.0 FI 15.5 FR 31.8 GR 7.6 HR 2.1 HU 0.8 IE 7.1 IT 20.1 LT 3.8 LU 0.5 LV 1.8 MT 0.0 NL 7.4 PL 13.4 PT 6.6 RO 6.1 SE 22.2 SI 0.1 SK 0.5 >> For suggested modifications in onshore wind figures, the source is "Wind energy in Europe: 2024 Statistics and the outlook for 2025-2030": https://windeurope.org/intelligence-platform/product/wind-energy-in-europe-2024-statistics-and-the-outlook-for-2025-2030/ > For OFFSHORE Wind, WindEurope estimated figures for 2030 in GW: BE 2.3 BG 0.5 DE 18.3 DK 3.7 EE 0.0 ES 0.3 FI 0.0 FR 3.8 GR 0.0 HR 0 IE 1 IT 0 LT 0.6 LV 0 MT 0 NL 10 PL 5.9 PT 0 RO 0 |  |  |  | Sources for the suggested modifications in offshore wind installed capacities for 2030: DE: Grid delays → https://www.offshorewind.biz/2024/01/31/germany-facing-offshore-wind-grid-expansion-delays/ DK: Denmark’s current NECP is based on KF24, but KF25 has been published and is expected to shape the updated NECP → https://www.kefm.dk/klima/klimastatus-og-fremskrivning/klimastatus-og-fremskrivning-2025 ES: First offshore tender delayed; only part of projects expected online by 2030 → https://renews.biz/101245/seanergy-spain-under-pressure-to-launch-offshore-auction/ GR: Ministerial decrees are stalled in the Energy and Foreign Affairs ministries due to cost concerns and unresolved EEZ issues. With no auctions announced, the 1.9 GW target by 2030 appears unfeasible and the government’s strategy remains unclear. IE: Major delays in auctioned projects; 2nd auction only expected this year. 6 GW target for 2030 is off-track → https://strategicenergy.eu/ireland-will-miss-5-gw-offshore-wind-target/# IT: Italian Energy Ministry official said offshore wind is realistically a post-2030 resource: “We are in 2025, and it takes 5–6 years to develop.” NL: Dutch govt shelved two offshore wind tenders; plans single-site auction instead → https://www.offshorewind.biz/2025/05/19/dutch-govt-shelves-two-offshore-wind-tenders-plans-single-site-auction/ PT: Even with auctions later this year, projects unlikely online by 2030 → https://www.offshorewind.biz/2025/04/23/portugal-lays-groundwork-for-first-offshore-wind-auction/ | Publish my anonymised answers to this consultation.
Anonymised | 5 | [10 empty] | It is generally unclear how the intra-year demand is modelled. Especially as regards the demand flexibility of industry, households and gas-based transport. These are needed for infrastructure sizing and modelling. Also, the statistics of intra-year values should be also published and consulted as these are the most important for infrastructure planning. | As there is a huge gap between the total energy consumption 2030 and the EU target, we are afraid that any adjustment without checking back the methodology of demand development would come to arbitrary results. We propose to add to the gap-filling methodology an in-depth check of consistency of final demand figures with methodologies of individual segments demand predictions. This difference also shows that NCEPs are simply inconsistent in total with EU targets and the idea to base the prediction on them is currently unsustainable. |  |  | As the weather years are based on prediction only it will be prone to insufficient variability of weather extremes (inability to model “fat tails” or sufficient var). In grids modelling and safety checks it is standard to use past relatively extreme years to secure safe and reliable operation. These representative years should be used in the modelling otherwise the scenarios would lead to insufficient peak consumption. | The outlook for methane consumption in Spain seems to be somewhat bullish and difficult to conciliate with historical gas fired power generation demand levels and existing installed capacity of CCGTs. 1. Sectoral demand distribution deviates from the original NECP, specifically for industry, transport and services. 2. Methane demand for power generation is above the historical maximum observed: according to Enagas[1], gas consumption for electricity generation amounted to a record 186 TWh in 2008 when the energy mix didn’t rely on such a substantial contribution of renewable generation. The historical average is around 80-100 TWh, which implies 3200-4000 operational hours taking into consideration the installed capacity of 24,5 GW of CCGTs. This contrasts sharply with 300-400 TWh of gas consumption for power generation projected under TYNDP for 2030-2050 (exceeds the historical average by 200-300%, physically impossible). On conventional demand (residential, services, industry, transport), so far, the evolution has not been following the NECP trajectory: the 2024 result is 13% above the reference 2019 level[2], 3% above the 2023 level[3]. Moreover, the recent legislative developments in the context of EPBD implementation confirm the transition timeline through 2040 and the relevance of molecules for decarbonisation purposes. Coupled with the exceptional potential for biomethane development in Spain[4], this factual evidence suggests revising the methane projections upwards, in particular, for hard to abate sectors like residential and services which can be fully covered with renewable gas without the necessity of equipment substitution. [1] Informe anual 2008 [2] Data by Enagas [3] Data by Enagas [4] A study of the capacity for biomethane production in Spain, 2023 | Publish my anonymised answers to this consultation.
Anonymised | 6 | The Innovation Roadmap is pointing to the future, and is intended to be a living document. It is inspiring per se, as it documents and already shows the potential for future improvements. Having no apparent hierarchy may have advantages and disadvantages. 1. As [Anonymised respondent] has learned in the Stakeholder Reference Group (SRG), the change of the TYNDP scenario framework constrains the ability to implement new innovations in the TYNDP 2026 cycle. An aim to address the ACER Scenario Guidelines is understandable, but some questions are posed, if the trade-off could have been avoided. According to [Anonymised respondent], it would be important plan each two-year cycle to always allow the modelling framework (if necessary) and a reasonable number of individual elements to be enhanced. 2. Because the prioritisation of the innovations is not really clear to stakeholders, the document does not yet act as a concrete Roadmap. Some leeway is useful, but it is unclear to stakeholders how the Roadmap translates into a plan. Besides internal, more justification should be provided what aspects at least will be improved in a cycle and why. 3. The current criteria for an innovation in ENTSOs is primarily operational: time * impact. Although this is practical, it lacks external criteria, and living in a climate emergency, this might not lead into “an optimal choice" of innovations. It could make sense to consider which innovations - improvements to the framework, to the modelling or of any other type - would deliver the highest contributions to emissions reductions. [Anonymised respondent] underscores the importance of ESABCC’s advice and opinions. 4. It would be recommended to harvest innovations also from outside the wider community. E.g. highly innovative stakeholders (also from outside the SRG) could propose innovations, to be documented, at a platform, to add into a growing pool of ideas, as openly available. It could be assumed to raise interest in energy stakeholders around EU27, and beyond. | 1) modelling and simulation of a 100% renewable energy system is imperative → Given the scale and pace of the energy transition, these requirements and key elements should be systematically integrated into the TYNDP Scenarios. 2) open source modelling → [Anonymised respondent] strongly encourages advancement of open source approaches across all vectors for modelling results to be studied by a range of energy stakeholders, harnessing expertise widely to identify emerging issues. 3) very high flexibility levels → A clear integration and synchronisation of flexibility potentials from a EU-wide perspective would be very helpful. Without a deep representation of all flexibility options, eventual grid needs could be overestimated. 4) topology and grid distribution level → Distribution national development plans, as available data, could be factored in. Increasing the modelling topology would improve relevance. 5) demand-side assessment → A systematic demand-side analysis could be integrated into the TYNDP scenarios process. The TYNDP scenarios do not study potential demand-side changes, as a structural issue. 6) prioritise innovative grid technologies higher → Make innovative grid technologies in the Innovation Roadmap prominent, and elaborate on their contribution. 7) acknowledge seasonal and long term energy storage technologies and related data → New storage projects across a range of innovative technologies are emerging. Explicitly recognise their role and integrate related data systematically. Start with JRC’s “European Energy Storage Inventory: Real-time Energy Storage Dashboard”. https://ses.jrc.ec.europa.eu/storage-inventory 8) resilience of energy infrastructure against extreme events, such as extreme heat, including the impacts on grids and generation capacities. → Such an assessment could be important especially for the long-term and very long-term timeline in the TYNDP studies or as another knowledge product. | 1. Breyer et al. (2022) On the History and Future of 100% Renewable Energy Systems Research. https://web.stanford.edu/group/efmh/jacobson/Articles/Others/22-100PctRE-History.pdf 2. The Energy Transition Model, ETM, with a visual interface, does not yet make the modelling process open source across electricity, hydrogen and gas vectors. 3. In line with the spectrum of innovations, at various scales, much more can be achieved. A more granular representation of different flexibility and non-wire measures, technologies and arrangements help represent future energy systems. 4. ENTSOs’ response to SRG over TYNDP 2024 modelling approach: “in electricity, a transmission/distribution split is somewhat detectable through the modelling tools used. However, the gas system is not explicitly modelled, and for hydrogen, such information would require updating the current models”. https://2024.entsos-tyndp-scenarios.eu/annex-3/ 5. The 2026 scenario framework, and its variants around an economic story lack room to study demand-side measures. 6. FSR (2025) on EE1st Principle in TYNDP Scenarios: https://cadmus.eui.eu/bitstreams/4fa8c1e5-fd55-444e-a639-31c2a9a7d8cf/download 7. A 90 GWh seasonal thermal storage is being built in Vantaa, Finland by 2028: https://helsinkismart.fi/worlds-largest-cavern-thermal-energy-storage-built-in-vantaa/ 8. https://www.npr.org/2025/06/26/nx-s1-5443660/amid-extreme-heat-some-power-grids-may-struggle-to-keep-up-with-rising-energy-demand https://www.euronews.com/business/2024/08/14/[Anonymised respondent]-cuts-nuclear-production-in-reaction-to-soaring-temperatures The Innovation Roadmap is intended to be regularly updated. Currently as a concrete PDF document, presumably, the ideas could be made available in a visual form in a platform, even allowing comments from the energy community, to help showcase the cutting-edge innovation and solutions of the European energy sector, to reflect the energy competitiveness of the EU27 in a globalised world. | No response. | No response. | Assumption about battery storage CAPEX fails to reflect that battery storage technology, similarly to solar panels, has undergone rapid cost reductions. The average price of lithium ion battery packs dropped $115 USD/kWh in 2024, falling by 20% compared to 2023 and is 84% lower than the average cost a decade ago. The current assumption of over 1300 €/kW for a utility-scale battery with 4 hours energy-to-power ratio in 2030 seems to underestimate the cost reduction potential. Higher adoption of LFP chemistries, continued market competition, improvements in technology, material processing and manufacturing are likely to exert downward pressure on battery prices. We would strongly suggest that preliminary assumptions on CAPEX for battery storage are revised to take into account future efficiency gains. | Sources: 1) BloombergNEF Press release (December 10, 2024) https://about.bnef.com/insights/commodities/lithium-ion-battery-pack-prices-see-largest-drop-since-2017-falling-to-115-per-kilowatt-hour-bloombergnef/ 2) Preliminary ERAA 2025 Economic and technical investment parameters: https://eepublicdownloads.blob.core.windows.net/public-cdn-container/clean-documents/sdc-documents/ERAA/ERAA_2025/Economic%20and%20technical%20investment%20parameters.zip | No response. | No response. | Excel 2.1.: As a technical note, it is unclear why the excel sheet on ‘Gasblend’ still refers to NT+, DE and GA scenarios. It appears that the sheet should be updated. Excel 2.4.: It appears that there are no technology costs assigned with storage technologies. Assigning costs to emerging technologies is a known methodological issue, but it is recommended that this issue is addressed explicitly and stated openly in the future. Please also see our answer to Question 6 (point 7) on seasonal and long term energy storage technologies. Suggestions: As the first step, it would be strongly recommended to add a mention or a footnote to the Draft Technology Costs excel that no costs for a set of storage technologies have been assigned due to a difficult to project future costs. As the second step, we would recommend adding a range of storage technology costs. Source: US DoE (2022) 2022 Grid Energy Storage Technology Cost and Performance Assessment. US Department of Energy. https://www.energy.gov/eere/analysis/2022-grid-energy-storage-technology-cost-and-performance-assessment As the third step, as mentioned in Question 6, we believe that JRC’s “European Energy Storage Inventory: Real-time Energy Storage Dashboard” should feed and be integrated into TYNDP scenarios and modelling reference data. https://ses.jrc.ec.europa.eu/storage-inventory | Overall, an improved documentation of assumptions on the different sources and origins of hydrogen is helpful, and it is recommended that associated rationales continue to be clarified, as it would allow seeing into the prioritisation and interplay of future electricity and hydrogen infrastructures, and assist stakeholders in assessing the proposed volumes. Although implied by the materials package, a more explicit clarity on the prioritisation of green hydrogen (H2) is also called upon. | On target compliance, ENTSOs mention “there are no specific targets for 2035 and 2040” for TYNDP 2026. The cut-off date was 24.12.2024. Already in February 2024, EC launched a process to introduce the 2040 climate target. Therefore, we would expect the ENTSOs to already anticipate such changes, as they begin to prepare for the TYNDP 2028 cycle and foresee its timeline, and for it to provide stronger target compliance to both 2035 and 2040. ** On Gap Filling Methodology: As a general concern, a SRG WG1 working paper (draft version 11.6.2025) identifies the following problem in the current Gap Filling methodology: “Reducing FEC from liquids without a corresponding increase in other fuels (e.g. electricity, LPG, hydrogen etc), besides possibly translating into demand destruction, risks underestimating infrastructure needs to support the modal shift necessary to reach EU targets, such as electrification of transport.” It is recommended that thought is put into this issue. | “The carbon budget for the scenarios is set to 16 GtCO2-eq in the period from 2030 to 2050.” 1) Concerning the carbon budget, for CCS, we appreciate the document making a specific reference to the ESABCC advice on thresholds. 2) But, the TYNDP Scenarios should explain even more clearly how the carbon budget impacts the overall scenario results (and more widely, eventual energy infrastructure designs). 3) Finally, concerning the 2040 timeline, a recent comparison note, published by négaWatt in May 2025, which has taken ESABCC advice on feasibility criteria, hints that the previous TYNDP 2024 deviation scenarios were worryingly close to the limit of ambition of the ESABCC benchmark and recommendations (nègaWatt 2025, p. 7). Also in the question of the carbon budget, TYNDP 2024 scenarios appeared as less ambitious than more progressive European energy scenarios. Learning from such analyses is recommended, also with a view to the on-going and future cycles. Source: Balancing ambition and feasibility: Comparison of major EU energy and climate scenarios for 2040 https://www.negawatt.org/IMG/pdf/2040_scenario_comparison_-_ambition_and_feasibility.pdf | On electricity grids, the methodology would do well to acknowledge and consider, if it will be necessary to align with the potential role of Grid Acceleration Areas (GAAs), which currently act as a non-binding mechanism. As an observation, the criteria for electricity grids seems to be far more strict than for H2 grids. It is not fully clear why this is the case. | We warmly welcome the progress and accommodation of future simulated weather years. [Anonymised respondent] believes this can create a more realistic picture of the conditions under which future energy infrastructures are presumed to operate. Concerning the next steps: First, we would hope for an expanded Methodological Note, with further details of what this means in terms of operationalisation, as well as any limitations. Current explanation gives an overview for judging internal consistency, but we fear that stakeholders are only able to gain a piecemeal and superficial understanding, lacking a big picture. This could have been avoided with slightly more explanatory slides. Secondly, there are real-life implications deriving from the methodology, which require further illustration (potentially elsewhere in TYNDP). An analysis of the interlinkages of the gas and electricity networks as i.e. lower heat demand in winter, coupled with higher heating sector electrification, and temporal power to heat storage, has implications for RES development and similarly electrified cooling in the central heating networks, and also allows solar power to be utilised to a fuller degree than when just thought of as a electricity system element. Such solutions might be obvious in some EU countries, but in others such measures are a new solution. Having this issue, and related implications, clearly explained and reflected would be an added value for TSOs, and also gas TSO, in some MSs. *** Finally, this issue also relates to future energy demand projections. In some countries, inflated projections are a potential cause of concern. Gogolewski (2025) is worried of unrealistic NECP assumptions in Poland, of lower heat demands not reflected and that "The demand for energy in the country will increase because… immigrants will move to Poland". Translated from: https://wysokienapiecie.pl/110901-popyt-na-energie-w-kraju-wzrosnie-bo-do-polski-masowo-rusza-imigranci/ | On question 17 on the carbon budget methodology, we find it interesting that the document mentions EC 2040 Impact Assessment scenario three. “Reason for selection of S3: Consistency with last cycle. Represents the recommended scenario by ESABCC to stay aligned with the European climate goals.” However, it is not clear if Scenario 3 is applied only to this particular element, and why only to this element. It could be useful to systematically widen the application of S3 also into TYNDP Scenarios, as it could e.g. make more clear potential savings (and assist in demand-side optimisation). As one related, practical measure, e.g. a sensitivity analysis could be applied consistently to the central scenario (NT+), and across its different aspects. *** [Anonymised respondent] members would like to inquire whether cases of demographic decline are factored in energy demand or grid development planning in TSOs’ demand projections. In countries that are experiencing a demographic decline, for example Poland, supply-side projections could be checked against demand assumptions. *** As another methodological exercise, to assess necessary supply levels, it would be interesting to validate the accuracy of the TYNDP past and future scenarios with a cross-check of historic energy carrier demand projections by TSOs, with factual, realised carrier demand and use levels. If discrepancies persist e.g. at a particular country, an analysis of the possible reasons for such continued discrepancies could be started. *** As time goes by, it is likely that even more ambitious change could be required, as already has been illustrated by the discussion around the 2040 climate target. Accordingly, it would be an advantage to see TYNDP Scenarios, as a set, to apply a proactive level of ambition across their methodological choices, and also to show potential trade-offs, in order to avoid a situation of reactively adjusting to potential future changes. | Publish my anonymised answers to this consultation.

## On draft economic variants
Please state your organisation - Organisation name | How would you overall rate the draft economic variants methodology? (choose between 1 to 10 - 10 being most satisfactory) - Economic Variants draft methodology rating | Do you think that the draft methodology for building economic variants could be improved and if yes, why and how? - 2000 characters | Is there anything that you would like to add? - 2000 characters | By ticking one of the following boxes, you either agree on publishing your answers to this consultation in an anonymised format or agree to leave out all your information submitted in this consultation. In both options, your anonymised answers may be shared with EU and national authorities, drafting committee members, and other persons or entities involved in the adoption process of the consulted document to ensure the performance of ENTSO-E legally mandated tasks. Under no circumstances will your answers be shared in combination with your personal information. - Publication of information
Anonymised | 7 | Achievements 1. The streamlined simpler planning process is most welcome. 2. The focus on a single scenario, NT, is sufficient for the period until 2035. On the subsequent period until 2050 there are many unknowns and further possible scenarios must be considered. 3. The limitation to +-15% sensitivities is sufficient. However, they must not be limited to price only but include all significant assumptions (main risks, changing environmental targets, ...). It can be clarified what sensitivity results are additive, if any. Opportunities 1. The assumptions about the impact of the weather on the hourly demand (heat pumps) and supply (wind and solar) must be clarified and agreed. Apparently, the supply and the demand are modelled in the ETM (annual) and in the DFT (hourly). It is important to ensure that the assumptions are consistent and capture the full correlation for all countries. 2. The main risks (weather, project delay, downtime, IT infrastructure, ...) need to be modelled explicitly. 3. Strengthening or weakening environmental targets, for example the current legislation that all new cars and vans will have to be zero-emission vehicles by 2035, has a large impact on the growth rate of power and hydrogen demand. 4. The weather year selection has been done with great care, but the outcome of a single agreed year is still a simplification because it doesn't include the wide range of known variations, which can be costly. 5. For the period until 2035, the use of climate models has limited value since the rate of climate change is not that fast yet. It is preferred to maintain a firm basis on recent historical weather data (2000 - 2025), from the ECMWF re-analyses, without change. For generating a credible random set of (say 100) weather years, covering the whole EU, the historical months can be re-sampled. 6. Will the results of the 10-year plan analysis be used to assess the achievability of the Green Deal and other EU energy transition objectives? | Other comments On the Scenarios Innovation Roadmap Section 8.3, Grid topology: it will be challenging to include dynamic flow simulation at the EU scale. It's questionable if such detailed modelling would make a significant difference. Instead, it might be assumed that the hydrogen grid will be operated within a limited pressure band, while still allowing use of line pack for operational reasons. | Publish my anonymised answers to this consultation.
Anonymised | 6 | In principle, the question concerns 1) the overall scenario framework and 2) the construction of the variants themselves. TSOs and NRAs may seek planning certainty to implement infrastructure, and the new TYNDP 2026 scenario framework with a narrow (or conservative) approach is argued to align with a conducive policy-making rationale. However, nothing inherently requires scenarios to be built with such an approach. It has been claimed that the old variants (“DE” & “GA”) were “too” wide to be useful and policy relevant, but the issue may also stem from some other observed limitations of the scenarios, and also to how they aged over time. Some limitations of the new framework may include: 1) With a narrow approach, it remains unclear how much of a stress test the variants will eventually provide. 2) On the economic variants, the two variants seem not to differ fundamentally from the central scenario, apart from a minor percentage (%) adjustment +/-. Usually, scenario analysis aims to generate insights i.e. ‘to learn with the scenarios’. It is still unclear what we can actually learn from such a deviation. 3) The Initial Test Results (see slide 8) show limited deviation in key parameters, such as final energy demand, methane demand or H2 demand, raising questions of insights. 4) To plan for the long-term, resilience against other types of uncertainties will remain relevant. It will be imperative to test the central scenario with strategic ‘sensitivity analyses’ and/or ‘what if’ types of variants - against key uncertainties. This would, in fact, also strengthen the central scenario, as requested by ACER and EC. 5) If the variants are intended to be stress tests, at least nutshell descriptions of storylines would help better understand “what are they stress tests for”. At the moment, we primarily see a technical methodology to construct the variants. Apart from internal validity, relevance to energy infrastructure planning is very difficult to assess. | From an internal validity perspective, the methodology is rather well articulated and justified. However, as written above, from an external validity and relevance perspective, according to [Anonymised respondent]’s view, it is far too early to judge if the new TYNDP 2026 framework, which seems to allow very limited room for imagination, is actually ‘optimal’ or ‘preferred’. Overall, the timeline for building the scenarios has been tight. Complying with the process timeline is one important criteria, but if requests to test the TYNDP 2026 Scenarios are not feasible, this would appear to be one of the key limitations of the current cycle. An improvement in the next TYNDP cycle (i.e. TYNDP 2028 framework) would be to enhance the timeline design, with time for sensitivity analyses across 2-3 critical factors on key issues that are analysed systematically. They could help elevate strategic discussions on key emerging issues of the energy transition to generate valuable insights, for instance, of resulting trade-offs. These could also be proposed by stakeholders. Such issues could entail, but are certainly not limited to a far higher role of non-fossil flexibility, potential of battery storage growth (thanks to changes in battery quality and lower prices), as well as spotlighting issues of fossil fuel phase outs in energy infrastructure. In the future, alongside techno-economic drivers, attention to integrating the political, social and environmental aspects of the transition into the framework can be assumed to require elevated attention. To conclude, the experience with TYNDP 2026 scenarios should be documented and feedback collected to better assess the usability of the framework for the TYNDP 2028 cycle, and beyond, also with possible adjustments in mind. *** Technical note: In this consultation as well as the previous consultation on Input data and Methodologies, the answer boxes (of 2 000 characters) seem a little bit too short for a meaningful response. | Publish my anonymised answers to this consultation.
Anonymised | 3 | It is problematic that only a single core scenario is now being used. The use of multiple distinct scenarios has historically provided significant added value, particularly in identifying key levers, risks, and knowledge about resilience in energy infrastructure planning. Given the high degree of uncertainty currently facing the European energy system, relying on a single scenario risks oversimplifying the strategic outlook and limiting the robustness of system analysis. Before developing "variants" of one scenario, there must be confidence that the base scenario itself is likely to occur. Such certainty does not exist. In Germany, for example, the upcoming Kraftwerkssicherungsgesetz (Power Plant Safeguarding Act) could lead to fundamental shifts in the role of thermal generation, with major implications for the gas infrastructure. If carbon capture and storage (CCS) were to be applied to power plants, this would directly impact molecular energy supply chains and determine regional demand for natural gas or hydrogen. The TYNDP must reflect on how power plants could reshape the structure and requirements of the European gas infrastructure. Furthermore, we believe it is essential to examine a scenario that specifically highlights the weather dependency of the future energy system. As the system becomes increasingly dominated by variable renewable energy, it would be inappropriate to exclude the most critical source of volatility from the modeling process. A dedicated weather-sensitivity or resilience scenario by including a cold winter should be developed accordingly. Lastly, we note that the “High Economic” variant is not a purely economic variation. It incorporates stronger sustainability measures, which in turn reduce demand growth. This indicates that multiple dimensions (economic and environmental) are being altered simultaneously. To ensure transparency and analytical clarity, economic variants should be clearly delineated from broader systemic changes. | Germany did not state a clear biomethane production target as addressed in recommendation 8 for the NECP (see also: Commission Assessment of the Final Updated National Energy and Climate Plan of Germany - European Commission). The inclusion of biomethane in the scenario(s) and economic variants is very important, particularly because other European member states emphasize the importance of biomethane through national expansion targets and thus plan grids and grid access accordingly. Further, the connection of biomethane to biogenic CO2 is crucial. Biomethane production is a (growing) source of biogenic CO2 which can be used in both CCU and CCS applications. For potentials see Biomethane Industrial Partnership (BIP) report “BIP_Task-Force-4.1_BioCO2-And-Biomethane_Apr2024” (Downloads - BIP Europe). | Publish my anonymised answers to this consultation.
Anonymised | 8 | Overall, we think the methodology serves its purpose to perform a stress test on a given basic scenario. However, due to model-endogenous decisions, we would greatly appreciate as much transparency as possible—both in the methodology and the results. For example, providing access to an Excel spreadsheet or similar documentation showing how sectoral activities and technologies are varied, and how these variations affect outcomes, would enhance clarity and credibility. For future analyses, it would be helpful if, in addition to 10% variations, different step sizes were also analysed. Depending on the dispatch model and cost structure, certain high-sensitivity reactions may occur. Furthermore, it would be valuable to test structural shocks—such as technology breakthroughs, supply chain disruptions, changes in energy sector structures or behavioral shifts—which may have non-linear impacts on system dynamics. | Regarding Slide 12, we agree that supply capacities should remain unchanged for the stress tests. Due to the long-term nature of investment decisions, the influence of input parameters such as the carbon price over time is reflected in different scenarios and should not form part of this sensitivity analysis. We would like to add to the EC's comment that supply capacities may be adjusted in the event of non-convergence: any necessary adjustments should be transparent and treated seriously, as this would be a key outcome of the stress test. Such results suggest a long-term sensitivity that warrants further investigation to determine the optimal solution, e.g. regarding installed capacities. This would require analysis beyond this stress test. In addition, we want to emphasize that the resulting change in system costs should be shared—e.g. due to Renewable Extra-EU imports decided by the model. The new TYNDP approach, with a central NECP-based scenario and two economic variants, brings welcome clarity and policy alignment. However, focusing mainly on macroeconomic parameters may limit exploration of other key uncertainties—such as societal behavior, decentralisation, and disruptive innovation. Adding a few exploratory or normative scenarios would broaden the scope, improve resilience testing, and better support long-term infrastructure and policy decisions. Exploratory scenarios could include high-electrification pathways, many-futures solutions, and decentralized systems, increasingly relevant in light of recent policy and market developments. It is also important that economic variants provide a systemic view and remain interoperable with national plans and the PCI selection process, to avoid misalignment in infrastructure planning. Finally, a more granular breakdown of system costs—including grid reinforcement and key investment areas—would help stakeholders better understand the implications of each variant. | Publish my anonymised answers to this consultation.
Anonymised | 5 | We are not sure if the Economic variants represent any form of a stress test, as it is represented in workshops. It represents some form of prediction of how the demand in the EU could develop under model assumptions when the EU economy develops in a slightly different manner than in the central scenario. In that regard, we recommend not calling it a stress test and developing such stress tests in a separate material, if they cannot be developed in full range here. We can see potential in the Natural Gas System Assessment Report that, significantly enriched, could serve this requirement. As for the methodology itself, we are significantly missing the definition of the span of the economic variants or at least reasoning why given values have been selected. “Higher GDP” or “close to 0 growth” are too vague and the definition of individual values should be linked to specific economic outlook or phenomena (outflow of spendings to the arms industry, decline in Industrial demand due to loss of competitiveness, GDP forecast spread by (?) ECB, etc.). |  | Publish my anonymised answers to this consultation.
Anonymised | 4 | The information on the methodology is too fragmented. There is no breakdown by sector, which prevents a detailed analysis of the proposed variations. In particular, the substitutions between electricity and gas, as well as between electricity and oil, are essential to understand the variations and [Anonymised respondent] would like ENTSOs to detail the choices made. Based on the information provided, [Anonymised respondent] considers it consistent that the electrification rate is positively correlated with the GDP growth rate, and conversely, that market share of gas decreases. However, [Anonymised respondent] is surprised by the low contrast in final demand between the different scenarios but does not have sufficient information to explain it (moderate EV penetration?). In conclusion, due to this lack of information, [Anonymised respondent] is neither able to give an overall rate of the draft economic variants nor to suggest any improvements, except for transparency improvements.