## Tables
TItle | Author | Verified by
Table 1. Joint data items
Table 2. Electricity TSO data collection
Table 3. Gas TSO data collection
Table 4. Additional data items
Table 5. Commodity costs and CO2 prices used for this cycle. All Prices values are adjusted to 2024 Euros using HICP
Table 6. Average import costs for synfuels €/MWh
Table 7. Share of Import mix of synthetic fuels
Table 8. Marginal import cost for e-liquid blend
Table 9. Structure of emissions and removals accounting framework
Table 10. Hydrogen imports capacities from projects delivered to TYNDP 2024 (starting point)
Table 11. Hydrogen Import potentials: adjusted starting point
Table 12. Hydrogen imports potentials: Lesser of rule applied
Table 13. Maximum theoretical flow potentials for each H2 pipeline import corridor
Table 14. Hydrogen (H2) import capacities from projects delivered to TYNDP 2024
Table 15. Hydrogen (H2) Import potentials
Table 16. Hydrogen (H2) import potentials: lesser rule applied
Table 17. Hydrogen Import Costs
Table 18. Electricity transmission grid: maturity and key characteristics
Table 19. Electricity grid: Selection criteria for each time horizon: 2030, 2035, 2040 and 2050
Table 20. Hydrogen (H2) transmission grid: maturity and key characteristics
Table 21. Hydrogen (H2) grid: Selection criteria for each time horizon: 2030, 2035, 2040 and 2050
Table 22. Modelling of Imported hydrogen (H2)
Table 23. Conversion efficiencies of different e-fuels used in our model and literature data
Table 24. Electricity merit order
Table 25. Overview of economic variant parameters, treatment per variant and modelling status
Table 26. Structural shares of the fleet composition
Table 27. Electric vehicles
Table 28. Charging station properties
Table 29. Results of the survey
Table 30. Prosumer / home charging V2G participation rate (% of flexible EVs)
Table 31. Street charging V2G participation rate (% of flexible EVs)
Table 32. Climate year codes
Table 33. Scope of analysis for weather year methodology
Table 34. Macroregional aggregation
Table 35. Representative Weather Scenarios for TYNDP 2026
Table 36. Market modelling inputs
Table 37. Country specific data collection and modelling
Table 38. Behind the meter capabilities
Table 39. Electricity transmission and distribution loss shares per target year and electricity market node

## T1-T4
Table 1. Joint data items
Joint Data Items (Electricity + Gas TSOs)
Methane and hydrogen-fired power generation capacity
Electrolyser capacity and associated renewable generation (grid-connected, Shared RES, Dedicated RES)
TYNDP demand data (ETM)
Table 2. Electricity TSO data collection
Electricity TSO Data
Renewable energy sources
Thermal unit capacity & must runs
Nuclear unit capacity & must runs
Battery capacities (prosumer & utility scale)
Demand-side response (capacity & activation price bands)
Electricity grid information
Grid losses
Table 3. Gas TSO data collection
Gas TSO Data
Hydrogen grid information
Biomethane production potential
Hydrogen production capacity (Steam Methane Reforming (SMR), pyrolysis)
Share of SMR equipped with Carbon Capture and Storage (CCS)
CCS and Carbon Capture, Utilization and Storage (CCUS) capacity
Domestic oil and natural gas production
Hydrogen infrastructure candidates for 2050 (storages & cross border capacity)
Import potentials for hydrogen and ammonia
Table 4. Additional data items
Additional Data Items
District heating systems (municipal, industrial steam, agricultural heating)
Synthetic and biofuels (demand, supply, feedstock requirements)
Domestic ammonia production for shipping
Electricity demand of CCS facilities not connected to power plants (CCSnpp)

## T5
Table 5. Commodity costs and CO2 prices used for this cycle. All Prices values are adjusted to 2024 Euros using HICP3. All GJ values are referred to thermal GJ in Lower heating value.
Fuel | Unit | 2030 | 2035 | 2040 | 2050 | Source
Nuclear | €/GJ | 0.6 | 0.6 | 0.6 | 0.6 | EIA (2023) https://www.eia.gov/electricity/annual/html/epa_08_04.html
Lignite G1 (BG - MK - CZ) | €/GJ | 1.9 | 1.9 | 1.9 | 1.9 | Booze&co same as 2022
Lignite G2 (SK - DE - RS - PL - ME - UKNI - BA - IE) | €/GJ | 2.4 | 2.4 | 2.4 | 2.4
Lignite G3 (SL - RO - HU) | €/GJ | 3.1 | 3.2 | 3.1 | 3.1
Lignite G4 (GR - TR) | €/GJ | 4.1 | 4.1 | 4.1 | 4.1
Hard coal | €/GJ | 4.1 | 4.0 | 3.9 | 4.1 | EC. Recommended parameters for reporting on GHG projections in 2025
Natural Gas | €/GJ | 9.2 | 9.8 | 10.4 | 9.8
Crude oil | €/GJ | 14.3 | 15.2 | 16.2 | 20.2
CO2 price | €/ton | 97.5 | 197.5 | 297.5 | 502.7
Biomethane | €/Gj | 13.9 | 14.0 | 14.1 | 13.9 | Calculation based on Danish Technology cataloque
Synthetic Methane | €/Gj | 32.8 | 31.3 | 29.8 | 28.0 | IEA 2022 (APS). Renewable electricity, 70%, 55% and 50% of biogenic CO2.
Light oil | €/GJ | 18.3 | 19.5 | 20.7 | 25.9 | Modelled from crude oil price (+28%)
Heavy oil | €/GJ | 15.0 | 16.0 | 17.0 | 21.2 | Modelled from crude oil price (+5%)
Oil shale | €/GJ | 2.3 | 2.8 | 3.3 | 4.8 | Value from 2024 TYNDP scenario cycle. No updates from TSOs.
Blended gas price | €/Gj | 9.65 | 9.42 | 11.79 | 14.19 | Blend of forecasted mix of methane, biomethane and synthetic methane
Source: TYNDP2026Scenarios_Fuel_CO2_Prices.xlsx
Note on E18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 9.42 doesn't seem correct as not well interpolated between 2030 and 2040, as well as lower than natural gas.

## T6-T8
Table 6: Average import costs for synthetic fuels €/MWh
Average import costs for synthetic fuels €/MWh
| 2030 | 2035 | 2040 | 2050
FT-fuels | 289 | 256 | 232 | 212
Methanol | 279 | 248 | 224 | 202
Table 7: Share of Import mix
Share of import mix of synthetic fuels
| 2030 | 2035 | 2040 | 2050
e-others | 94% | 86% | 86% | 83%
e-methanol | 6% | 14% | 14% | 17%
Source: Data collection
Table 8: Marginal import cost for e-liquid blend
Marginal import cost for e-liquid blend €/MWh
| 2030 | 2035 | 2040 | 2050
e-liquids | 288.4 | 255.2 | 231.1 | 210.6

## T9
Table 9: Structure of the emissions and removals accounting framework
| EMISSIONS |  |  |  | REMOVALS
| ENERGY |  | NON-ENERGY (from NECPs+IA) |  | LULUCF (from NECPs+IA)
| CO2 (from ETM+PLEXOS) | Non-CO2 (from IA) | CO2 | Non-CO2 | CCS/CCUS (from other data collections and sources)
| Energy Industries |  |  |  | Use of CCUS (model result)
| Manufacturing Industries and Construction |  | Industrial Processes and Product Use
| Transport |  | Agriculture
| Other Sectors |  | Waste
| Other (Not specified elsewhere) |  | Other
Fugitive Emissions from Fuels

## T10-T13
Table 10: Hydrogen import capacities from projects delivered to TYNDP 2024 (starting point)
GWh/day (NCV) | 2030 | 2035 | 2040 | 2050
Italy | 379 | 379 | 379 | 379
Spain | 0 | 0 | 90 | 90
Slovakia | 122 | 122 | 122 | 122
Table 11: Hydrogen Import potentials: adjusted starting point
Import potentials (Starting point adjusted with political views and long-term strategies)
GWh/day (NCV) | 2030 | 2035 | 2040 | 2050
Italy | 180 | 280 | 379 | 694
Spain | 0 | 0 | 89 | 223
Hungary | 0 | 0 | 0 | 107
Slovakia | 121 | 121 | 121 | 121
Netherlands | 0 | 0 | 49 | 110
Germany | 0 | 0 | 365 | 365
Table 12: Hydrogen import potentials: Lesser of rule applied
GWh/day (NCV) | 2030 | 2035 | 2040 | 2050
Italy | 180 | 280 | 379 | 379
Spain | 0 | 0 | 89 | 90
Hungary | 0 | 0 | 0 | 0
Slovakia | 121 | 121 | 121 | 121
Netherlands | 0 | 0 | 0 | 0
Germany | 0 | 0 | 0 | 0
Table 13: Maximum theoretical flow potentials for each H2 pipeline import corridor
Maximum theoretical flow potentials
GWh/day (NCV) |  | 2030 | 2035 | 2040 | 2050
Italy | average | 143 | 230 | 316 | 316
| min | 73 | 145 | 212 | 212
| max | 180 | 277 | 373 | 373
Spain | average | 0 | 0 | 73 | 73
| min | 0 | 0 | 44 | 44
| max | 0 | 0 | 89 | 89
Slovakia | average | 58 | 58 | 89 | 89
| min | 1 | 1 | 46 | 46
| max | 121 | 121 | 121 | 121

## T14-T16
Table 14: Hydrogen (H2) import capacities from projects delivered to TYNDP 2024
Imports capacities from projects delivered to TYNDP 2024 (starting point)
Shipped H2 imports GWh/day | 2030 | 2035 | 2040 | 2050
Germany | 37 | 57 | 274 | 274
Netherland | 116 | 116 | 189 | 189
Italy | 0 | 0 | 28 | 28
Belgium | 50 | 91 | 177 | 177
France | 0 | 41 | 41 | 43
Greece | 0 | 0 | 42 | 42
Poland | 15 | 15 | 15 | 15
Table 15: Hydrogen (H2) import potentials
Shipped H2 imports (For energy) GWh/day | 2030 | 2035 | 2040 | 2050
Germany | 52 | 75 | 75 | 75
Netherland | 74 | 197 | 649 | 729
Italy | 41 | 41 | 82 | 82
Belgium | 66 | 181 | 211 | 238
France | 20 | 61 | 76 | 106
Greece | 0 | 42 | 42 | 42
Poland | 15 | 15 | 15 | 15
Table 16: Hydrogen (H2) import potentials: lesser rule applied
Imports potentials (lesser of rule applied)
Shipped H2 imports GWh/day | 2030 | 2035 | 2040 | 2050
Germany | 37 | 57 | 75 | 75
Netherland | 74 | 116 | 189 | 189
Italy | 0 | 0 | 28 | 28
Belgium | 50 | 91 | 177 | 177
France | 0 | 41 | 76 | 106
Greece | 0 | 0 | 42 | 42
Poland | 15 | 15 | 15 | 15

## T17
Table 17: Hydrogen import costs
H2 import costs
Import route (€/MWh) | 2030 | 2035 | 2040 | 2050
H2 imported as ammonia | 225,3 | 210,0 | 196,4 | 180,9
Tunisia- Italy | 106,9 | 102,7 | 99,7 | 95,5
Algeria – Italy | Not online | 102,7 | 99,7 | 95,5
Ukraine - Slovakia | 246,0 | 185,8 | 164,4 | 142,9
Morocco-Spain | Not online | Not online | 73,7 | 70,1
Ukraine - Hungary | Not online | Not online | Not online | 142,9

## T18-T19
Table 18. Electricity transmission grid: maturity and key characteristics
Maturity | Description | Key Characteristics
Under Consideration | Project at an early stage of development, with preliminary studies underway or conceptual design initiated. | No formal permitting process commenced; feasibility or pre-feasibility studies may be ongoing.
Planned – Not Yet in Permitting | Project included in formal planning frameworks but not yet submitted for permitting. | Typically included in a National Development Plan or equivalent; system need identified; preliminary technical design available.
In Permitting | Permitting process formally initiated; project under active review by relevant authorities. | Application submitted to permitting authority; Environmental Impact Assessment (EIA) may be in progress; public consultation may have been initiated.
EIA Completed | Environmental Impact Assessment process concluded; project approved from an environmental perspective. | Permitting substantially advanced; remaining steps typically relate to final construction approvals or land acquisition.
Under Construction | Physical construction or procurement activities have commenced. | Final Investment Decision (FID) taken; contracts awarded; site works initiated or equipment manufacturing underway.
Table 19: Electricity grid: Selection criteria for each time horizon: 2030, 2035, 2040 and 2050
Horizon | Minimum Maturity Threshold | Rationale
2030 | Under Construction or EIA Completed | Only projects with the highest maturity are included, reflecting the limited time remaining for commissioning. These projects have either commenced construction or completed the most critical permitting milestone, making their timely delivery highly probable.
2035 | In Permitting or Planned (not yet in permitting) | The inclusion set expands to incorporate projects in active permitting or at an advanced planning stage. The longer lead time to this horizon provides a reasonable window for these projects to progress through remaining development stages.
2040 | In Permitting or Planned (not yet in permitting) | As for 2035, projects in permitting or at an advanced planning stage are included. The additional time buffer further supports the expectation that these projects will reach commissioning.
2050 | Selected Under Consideration + long-term conceptual projects | The set extends to selected Under Consideration projects and long-term conceptual projects submitted by project promoters during the Q2‑2025 data-collection window. This reflects the exploratory nature of 2050 modelling and the need to capture strategic infrastructure trajectories.
|  |  | 2040 | 2040
|  |  | 2050 | 2050

## T20-T21
Table 20. Hydrogen (H2) transmission grid: maturity and key characteristics
Maturity Category | Description | Key Characteristics
PCI/PMI infrastructure level | Projects with recognized strategic relevance at European level. | Includes existing hydrogen infrastructure, projects with FID, PCI/PMI-labelled assets and EC-requested import corridor adjustments.
Advanced infrastructure level | Projects with demonstrated development progress. | Includes projects with commissioning date ≤2030, inclusion in national plans or validated market tests.
Less Advanced infrastructure level | Early-stage projects. | Includes assets in conceptual, design or planning phases.
Table 21. Hydrogen (H2) grid: Selection criteria for each time horizon: 2030, 2035, 2040 and 2050
Horizon | Minimum Maturity Threshold | Rationale
2030 | PCI/PMI + Advanced | Focus on mature infrastructure with high likelihood of commissioning in the short term.
2035 | PCI/PMI + Advanced | Addition of projects in advanced development stages with commissioning date ≤2035.
2040 | PCI/PMI + Advanced + Less Advanced | Inclusion of earlier-stage projects whose development trajectory may credibly support commissioning by 2040.
2050 | All maturity levels + conceptual capacity increases | The grid incorporates all maturity levels—PCI/PMI, Advanced and Less‑Advanced—together with a limited set of ex‑ante conceptual capacity increases submitted in response to the joint ENTSO‑E/ENTSOG request launched in Q2 2025.

## T22
Table 22. Modelling of Imported hydrogen (H2)
Pricing band | Profile | Modelling treatment
Long-Term Contract (LTC) band | Flat, must-run profile | Represents firm “take-or-pay” infrastructure investments. Modelled with a zero marginal cost so that the contracted capacity is dispatched as a priority within the optimisation, irrespective of hourly system conditions.
Flexible / marginal band | Hourly availability, route-specific | Captures the residual import potential beyond LTC volumes. Subject to higher market prices and to availability constraints; for green hydrogen corridors (North Africa and Ukraine) the profile is derived from daily averages of the renewable generation profile in the exporting country.
Shipped ammonia / hydrogen carriers | Slower modulation, security-of-supply role | Modelled as providing flexibility and security of supply. The ammonia pathway is parameterised to include regasification. The LTC band approach is also considered for Ammonia.

## T23
Table 23. Conversion efficiencies of different e-fuels used in our model and literature data
E-fuel | Our model | Literature range*
e-methane | 79% | 70%-83%
e-diesel | 70% | 59%-78%**
e-kerosene | 71%
e-ethanol | 65% | n.a.
e-methanol | 80% | 69%-89%
* Review of electrofuel feasibility—cost and environmental impact. Maria Grahn et al. (2022) Progress in Energy 4: 3.
**Hydrogen to Fischer–Tropsch

## T24
Table 24: Electricity and hydrogen merit order
Elec Merit Order | Elec Merit Order - Priority | Technology | H2 merit order | H2 Merit Order - Priority
|  |  | LTC - LOW band (nonEU Pipelines; NH3 imports) | 1
RES | 1 |  | RES through P2G | 2
Hydro | 2 |  | Hydro through P2G | 3
P2G
Nuclear | 3 |  | Nuclear through P2G | 4
Biofuels | 4 |  | Biofuels through P2G | 5
|  |  | SMR | 6
|  |  | nonEU imports | 7
|  |  | NH3 imports | 8
Other nonRES | 5 |  | Other nonRES through P2G | 9
Gas plants | 6 |  | Gas thorugh P2G | 10
P2G to
Lignites | 7 | avoid H2 | Lignite through P2G | 11
curtailment
Coal | 8 |  | Coal through P2G | 12
Heavy oil | 9 |  | Oil through P2G | 13
DSR | 10 |  |  | 14
VOLL Elec, VOLL Heat |  |  | VOLL H2, VOLL synfuels, VOLL Heat

## T25
Table 25: Overview of economic variant parameters, treatment per variant, and modelling status
| Parameter | Description | High Economy | Low economy | Status
DEMAND - TECHNOLOGY MIX
| Adoption rate | Uptake of EVs, heat pumps, H₂, electricity-driven technologies | Faster | Slower
| Phase-out rate | Retirement of coal, oil and gas boilers, ICEs | Faster | Slower
DEMAND - ACTIVITY
| Absolute demand shifts | Sectoral volumes: industrial output, transport demand | Higher | Lower
DEMAND - EFFICIENCY
| Energy efficiency | Implicit via technology choice only | NA | NA
| Insulation level | Insulation level in Household & Building sector | NA | NA
SUPPLY - PRICES
| CO₂ (ETS) price | ±10% vs neutral trajectory | +10% | -10%
| Fossil commodity prices | ±10% vs neutral trajectory | +10% | -10%
| Blue H₂ price (NO imports) | Scales with commodity ±10% | +10% | -10%
| E-fuels and biofuels share | Harmonised with economic variant | Increases | Decreases
SUPPLY - ENDOGENOUS (MODEL-DETERMINED)
| CCU/S levels | Optimised by model | Model decides | Model decides
| Renewable extra EU imports | Optimised by model | Model decides | Model decides
SUPPLY - FIXED (STRESS-TEST DESIGN)
| Installed supply capacities | Generation, storage, flexibility | Unchanged | Unchanged
| Grid capacities | Transmissions and distribution | Unchanged | Unchanged
| WACC | Cost of capital for new investment | Unchanged | Unchanged
| Technology costs | CAPEX/OPEX for all technologies | Unchanged | Unchanged
| Green H₂ and NH3 imports | Import prices held constant | Unchanged | Unchanged
Exogenous - set differently per variant
Value determined by model optimisation
Held constant - stress-test design choice
varies
Endogenous
varies
varies
varies
fixed
fixed
fixed
fixed
fixed
Endogenous
No lever
varies
varies
varies
No lever
varies
Endogenous
fixed

## T26-T31
Table 26: Structural shares of the fleet composition |  | Table 27: Electric vehicles
Parameter | Value | ELECTRIC VEHICLES PROPERTIES | 2030 | 2035 | 2040 | 2050 | Table 30: Prosumer / home charging V2G participation rate (% of flexible EVs)
Prosumer charging share | 70% | Battery Capacity (kWh/EV) | 79 | 81 | 83 | 100 | V2G option | 2030 | 2035 | 2040 | 2050
Street charging share | 30% | Efficiency (Wh/km) | ETM | ETM | ETM | ETM | Low | 0% | 5% | 10% | 20%
Fixed charging share of total passenger EV fleet | Based on TSO survey | Transport Demand (km/EV) | ETM | ETM | ETM | ETM | Medium | 15% | 20% | 25% | 35%
Flexible commuter share of total passenger EV fleet | Based on TSO survey | Number of EVs (#) | ETM | ETM | ETM | ETM | High | 30% | 35% | 40% | 50%
Flexible non-commuter share of total passenger EV fleet | Based on TSO survey | Max Charge/Discharge Rate (kW/EV) | 7.4 | 7.4 | 7.4 | 7.4
Split within flexible share | 50% commuter / 50% non-commuter | Street/Home split (%) | 30/70 | 30/70 | 30/70 | 30/70 | Table 31: Street charging V2G participation rate (% of flexible EVs)
[7 empty] | V2G option | 2030 | 2035 | 2040 | 2050
|  | Table 28: Charging station properties |  |  |  |  | Low | 0% | 1.5% | 3% | 5%
|  | CHARGING STATIONS PROPERTIES | Home | Street |  |  | Medium | 0% | 3.5% | 7% | 15%
|  | Max Charge/Discharge Rate (kW/station) | 7.4 | 16 |  |  | High | 0% | 5% | 10% | 20%
|  | Use of Station Charge (EUR/MWh) | 30 | 35
|  | Charge/Discharge Efficiency (%) | 94 | 94
|  | Station per EV (#) | 1 | 0.5
Table 29: Results of the passenger EV survey
|  | Flexibility option | Flexible charging share | Fixed charging share
|  | Business-as-usual | 15% | 85%
|  | Users Oriented | 30% | 70%
|  | Balanced | 50% | 50%
|  | Market Driven | 70% | 30%
|  | Default if no selection is made | 50% | 50%

## T32
Table 32: Climate year codes
Code name | SSP scenario | Climate model | Climate year | Study Target Year
WS003 | SSP245 | CMR5 | 2027 | 2030
WS021 | SSP245 | MEHR | 2025 | 2030
WS029 | SSP245 | MEHR | 2033 | 2030
WS032 | SSP245 | CMR5 | 2031 | 2035
WS037 | SSP245 | CMR5 | 2036 | 2035
WS059 | SSP245 | MEHR | 2038 | 2035
WS065 | SSP245 | CMR5 | 2039 | 2040
WS071 | SSP245 | ECE3 | 2035 | 2040
WS077 | SSP245 | ECE3 | 2041 | 2040
WS091 | SSP245 | CMR5 | 2045 | 2050
WS092 | SSP245 | CMR5 | 2046 | 2050
WS106 | SSP245 | ECE3 | 2050 | 2050

## T33
Table 33: Scope of analysis for weather year methodology
Parameter | Value
Target years | 2030, 2035, 2040, 2050
Climate year windows | 2030 (2025–2034), 2035 (2030–2039), 2040 (2035–2044), 2050 (2045–2054)
Climate models | CMCC-CM2-SR5 (CMR5), EC-Earth3 (ECE3), MPI-ESM1-2-HR (MEHR)
Candidates per target year | 3 models × 10 years = 30 weather scenarios
Number of representative years (k) | 3
Bidding zones | 53 European zones
Technologies/Parameters analysed | 6: HDD/CDD, Run-of-River, Reservoir, Wind Offshore, Solar PV, Wind Onshore
Macro regions | 9 (Baltic, CE, CW1, CW2, Nordic, SC, SE, SW, UK)

## T34
Table 34: Macroregional aggregation
Macroregion | Countries
Baltic | Latvia, Estonia, Lithuania
CE | Czech Republic, Slovakia, Hungary, Poland, Romania
CW1 | Belgium, France, Netherlands
CW2 | Germany, Austria, Switzerland, Luxembourg
Nordic | Denmark, Finland, Norway, Sweden
SC | Italy
SE | Greece, Cyprus, Bulgaria, N. Macedonia, Croatia, Slovenia, Albania, Bosnia-Herzegovina
SW | Spain, Portugal
UK | United Kingdom, Ireland

## T35
Table 35: Representative Weather Scenarios for TYNDP 2026
Target Year | Cluster | Representative Year | Weight | Cluster Size
2030 | 0 | WS029 | 0.30 | 9
2030 | 1 | WS003 | 0.63 | 19
2030 | 2 | WS021 | 0.07 | 2
2035 | 0 | WS037 | 0.43 | 13
2035 | 1 | WS059 | 0.33 | 10
2035 | 2 | WS032 | 0.24 | 7
2040 | 0 | WS077 | 0.40 | 12
2040 | 1 | WS071 | 0.40 | 12
2040 | 2 | WS065 | 0.20 | 6
2050 | 0 | WS106 | 0.20 | 6
2050 | 1 | WS091 | 0.23 | 7
2050 | 2 | WS092 | 0.57 | 17

## T36
Table 36. Market modelling inputs
PARAMETER | SECTOR | SOURCE | PARAMETER | SECTOR | SOURCE
DEMAND PROFILES |  |  | ELECTRIC VEHICLES
PROSUMER | Electricity | ETM/DFT | FLEET TYPE: FIXED OR FLEXIBLE | EV | TSO Survey
MARKET | Electricity | ETM/DFT | BATTERY CAPACITY | EV | Innovation Team
LOSSES | Electricity | ENTSO-E | EFFICIENCY | EV | ETM
EV | Electricity | ETM/DFT | TRANSPORT DEMAND | EV | ETM
HYBRID HEAT PUMPS | Heat | ETM | FIXED CHARGING PROFILES | EV | ETM/DFT
H₂ ZONE 1 | Hydrogen | ETM/ENTSOG tool | NUMBER OF EVs | EV | ETM
H₂ ZONE 2 | Hydrogen | ETM/ENTSOG tool | START SOC | EV | Innovation Team (TYNDP2024)
SYNTHETIC FUELS | Synthetic Fuels | ETM & Data Collection | MIN SOC | EV | Innovation Team (TYNDP2024)
INFRASTRUCTURE |  |  | AVAILABILITY PROFILES | EV | Innovation Team (TYNDP2024)
HYDROGEN PIPELINES | Hydrogen | ENTSOG | DRIVING PROFILES | EV | REM2030 study
ELECTRICITY GRID | Electricity | ENTSO-E | STREET/HOME SPLIT | EV | Innovation Team (TYNDP2024)
ELECTRICITY PRODUCTION |  |  | COMMUTER/NON-COMMUTER SPLIT | EV | Innovation Team
HYDRO | Electricity | ENTSO-E | CHARGING STATION CHARGE RATE | EV | Innovation Team (TYNDP2024)
NUCLEAR | Electricity | ENTSO-E | USE OF STATION CHARGE | EV | Innovation Team (TYNDP2024)
GAS TURBINES (CH₄) | Electricity | ENTSO-E & ENTSOG | CHARGING STATION EFFICIENCY | EV | Innovation Team (TYNDP2024)
GAS TURBINES (H₂) | Electricity | ENTSO-E & ENTSOG | NUMBER OF STATIONS PER EV | EV | Innovation Team
COAL | Electricity | ENTSO-E | VEHICLE-TO-GRID RATIO | EV | TSO Survey
LIGNITE | Electricity | ENTSO-E | SPACE AND WATER HEATING
OIL | Electricity | ENTSO-E | HEAT DEMAND FOR HHP | Heat | ETM
OTHER NON-RES | Electricity | ENTSO-E & ENTSOG | NUMBER OF HEAT PUMPS IN HHP | Heat | ETM
OTHER RES | Electricity | ENTSO-E | INSTALLED CAPACITY PER HEAT PUMP IN HHP | Heat | ETM
CONCENTRATED SOLAR POWER | Electricity | ENTSO-E | HEAT PUMP COP | Heat | Innovation Team (TYNDP2024)
ONSHORE WIND | Electricity | ENTSO-E | BOILER EFFICIENCY IN HHP (HEAT RATE) | Heat | Innovation Team (TYNDP2024)
OFFSHORE WIND | Electricity | ENTSO-E | SYNTHETIC FUELS
SOLAR PV | Electricity | ENTSO-E | CO₂/SYNTHETIC FUEL RATIOS | Synthetic Fuels | Innovation Team
PECD | Weather | ENTSO-E | PRODUCTION CAPACITY | Synthetic Fuels | Data Collection
HYDROGEN SUPPLY SOURCES |  |  | BIOGENIC CO2 SUPPLY | Synthetic Fuels | ENTSOG
ELECTROLYSIS | Hydrogen | ENTSO-E & ENTSOG | OTHER
HYDROGEN IMPORTS | Hydrogen | ENTSOG | COMMODITY PRICES |  | Supply Team
STEAM METHANE REFORMING | Hydrogen | ENTSOG | GAS PRICE & CO2 EMISSIONS FACTOR |  | Supply Team
PYROLISIS | Hydrogen | ENTSOG
FLEXIBILITIES
DSR | Electricity | ENTSO-E
BATTERY STORAGE | Electricity | ENTSO-E
HYDROGEN STORAGE | Hydrogen | ENTSOG
ELECTRIC VEHICLE | Electricity | ETM

## T37
Table 37: Country specific data collection and modelling
|  | COUNTRY_ID | COUNTRY_NAME | ETM used | H2 modelling | flex pEV modelling | HHP modelling | BTM
| 1 | AT | Austria | yes | yes | yes | yes | yes
| 2 | BE | Belgium | yes | yes | yes | yes | no
| 3 | BG | Bulgaria | no | yes | no | no | no
| 4 | CY | Cyprus | no | yes | no | no | no
| 5 | CZ | Czech Republic | fallback | yes | yes | yes | no
| 6 | DE | Germany | yes | yes | yes | yes | only batteries
| 7 | DK | Denmark | yes | yes | yes | yes | no
| 8 | EE | Estonia | fallback | yes | yes | yes | no
| 9 | ES | Spain | yes | yes | yes | yes | no
| 10 | FI | Finland | yes | yes | yes | yes | no
| 11 | FR | France | yes | yes | yes | yes | no
| 12 | GR | Greece | yes | yes | yes | yes | no
| 13 | HR | Croatia | fallback | yes | yes | yes | no
| 14 | HU | Hungary | yes | yes | yes | yes | yes
| 15 | IE | Ireland | fallback | yes | yes | yes | no
| 16 | IT | Italy | yes | yes | yes | yes | no
| 17 | LT | Lithuania | yes | yes | yes | yes | no
| 18 | LU | Luxemburg | yes | yes | yes | yes | no
| 19 | LV | Latvia | yes | yes | yes | yes | no
| 20 | NL | Netherlands | yes | yes | yes | yes | no
| 21 | PL | Poland | yes | yes | yes | yes | no
| 22 | PT | Portugal | yes | yes | yes | yes | no
| 23 | RO | Romania | fallback | yes | yes | yes | no
| 24 | SE | Sweden | yes | yes | yes | yes | no
| 25 | SI | Slovenia | yes | yes | yes | yes | no
| 26 | SK | Slovakia | fallback | yes | yes | yes | no
| 27 | MT | Malta | yes | yes | yes | yes | no
| 28 | CH | Switzerland | yes | yes | yes | yes | yes
| 29 | RS | Serbia | no | no | no | no | no
| 30 | NO | Norway | no | no | no | no | no
| 31 | UA | Ukraine | no | no | no | no | no
| 32 | TR | Turkey | no | no | no | no | no
| 33 | MD | Moldowa | no | no | no | no | no
| 34 | BA | Bosnia and Herzegovina | no | no | no | no | no
| 35 | AL | Albania | no | no | no | no | no
| 36 | ME | Montenegro | no | no | no | no | no
| 37 | MK | North Macedonia | no | no | no | no | no
| 38 | UK | United Kingdom | no | yes | no | no | no
| 39 | UKNI | Northern Ireland | no | no | no | no | no

## T38
Table 38. Behind the meter capabilities
| Renewables | 2030 | 2035 | 2040 | 2050
|  | Gen / GW | Gen / GW | Gen / GW | Gen / GW
| AT | 8 | 10.5 | 13 | 13
| CH | 16.8 | 24.1 | 30.09 | 37.51
| DE | 45,3* | 60,57* | 63,15* | 58,33*
| HU | 0.12 | 0.22 | 0.27 | 0.37
*Already in the model - do not add to PLEXOS Results - was just used to calculate battery dispatch
| Batteries | 2030 |  | 2035 |  | 2040 |  | 2050
|  | Gen / GW | Sto / GWh | Gen / GW | Sto / GWh | Gen / GW | Sto / GWh | Gen / GW | Sto / GWh
| AT | 3.7 | 7.4 | 4.85 | 9.7 | 6 | 12 | 6 | 12
| CH | 2.3 | 1.15 | 2.99 | 1.49 | 6.94 | 3.47 | 10.1 | 5.05
| DE | 27.18 | 58.44 | 36.34 | 87.22 | 37.89 | 94.73 | 35 | 87.5
| HU | 0.12 | 0.33 | 0.22 | 0.62 | 0.27 | 0.76 | 0.37 | 1.04

## T39
Table 39. Electricity transmission and distribution loss shares per target year and electricity market node
Table of transmission and distribution loss shares per target year and electricity market node for countries where demand data is derived from the ETM
Electricity Loss Factors
| Unit | Fraction of Net Demand | Fraction of Net Demand | Fraction of Net Demand | Fraction of Net Demand
| Year | 2030 | 2035 | 2040 | 2050
| AT00 | 0.056 | 0.056 | 0.056 | 0.056
| BE00 | 0.043169 | 0.052157 | 0.052157 | 0.052157
| CH00 | 0.0753 | 0.076 | 0.0772 | 0.0776
| CZ00 | 0.06 | 0.06 | 0.06 | 0.06
| DE00 | 0.0712 | 0.0748 | 0.0785 | 0.0821
| DKE1 | 0.0511 | 0.0506 | 0.0505 | 0.0515
| DKW1 | 0.0564 | 0.0567 | 0.0568 | 0.0574
| EE00 | 0.075 | 0.075 | 0.075 | 0.075
| ES00 | 0.0375 | 0.04 | 0.04 | 0.04
| FI00 | 0.0491 | 0.0499 | 0.057236 | 0.057236
| FR00 | 0.0468 | 0.0504 | 0.036116 | 0.036116
| GR00 | 0.0601 | 0.0553 | 0.0541 | 0.0514
| GR03 | 0.0847 | 0.0834 | 0.0753 | 0.0695
| HR00 | 0.04 | 0.03 | 0.03 | 0.03
| HU00 | 0.03 | 0.03 | 0.03 | 0.03
| IE00 | 0.0719 | 0.071957 | 0.070659 | 0.068836
| ITCA | 0.0596 | 0.0596 | 0.0596 | 0.0596
| ITCN | 0.0596 | 0.0596 | 0.0596 | 0.0596
| ITCS | 0.0596 | 0.0596 | 0.0596 | 0.0596
| ITN1 | 0.0596 | 0.0596 | 0.0596 | 0.0596
| ITS1 | 0.0596 | 0.0596 | 0.0596 | 0.0596
| ITSA | 0.0596 | 0.0596 | 0.0596 | 0.0596
| ITSI | 0.0596 | 0.0596 | 0.0596 | 0.0596
| LT00 | 0.08 | 0.08 | 0.08 | 0.08
| LUG1 | 0.05 | 0.04 | 0.04 | 0.04
| LV00 | 0.052625 | 0.052625 | 0.052625 | 0.052625
| MT00 | 0.0482 | 0.0482 | 0.0482 | 0.0482
| NL00 | 0.043 | 0.043 | 0.043 | 0.043
| PL00 | 0.0573 | 0.0507 | 0.0416 | 0.0359
| PT00 | 0.09 | 0.09 | 0.09 | 0.09
| RO00 | 0.1114 | 0.1119 | 0.1116 | 0.1112
| SE01 | 0.1302 | 0.1571 | 0.03 | 0.03
| SE02 | 0.0979 | 0.1147 | 0.03 | 0.03
| SE03 | 0.0796 | 0.0834 | 0.03 | 0.03
| SE04 | 0.0794 | 0.0794 | 0.03 | 0.03
| SI00 | 0.062379 | 0.062379 | 0.054218 | 0.054218
| SK00 | 0.0596 | 0.0608 | 0.0626 | 0.0625